## Functional loc.
0 | 1 | 2
Functional loc. | Description | Functional loc. Sub
PI-TH-7151 | FOOD LAMPHUN PLANT
PI-TH-7151-BS | BUILDING &SERVICE | PI-TH-7151
PI-TH-7151-BS-AB | AMENITY BUILDING | PI-TH-7151-BS
PI-TH-7151-BS-AB-1F | AMENITY BUILDING 1ST FLOOR | PI-TH-7151-BS-AB
PI-TH-7151-BS-AB-1F-01 | AMENITY BUILDING 1F OFFICE | PI-TH-7151-BS-AB-1F
PI-TH-7151-BS-AB-1F-02 | AMENITY BUILDING 1F SUNBITE MEETING ROOM | PI-TH-7151-BS-AB-1F
PI-TH-7151-BS-AB-2F | AMENITY BUILDING 2ND FLOOR | PI-TH-7151-BS-AB
PI-TH-7151-BS-AB-2F-01 | AMENITY BUILDING 2F AMENITY ROOM 1 | PI-TH-7151-BS-AB-2F
PI-TH-7151-BS-AB-2F-02 | AMENITY BUILDING 2F AMENITY ROOM 2 | PI-TH-7151-BS-AB-2F
PI-TH-7151-BS-AC | AIR COMPRESSOR ROOM | PI-TH-7151-BS
PI-TH-7151-BS-AC-01 | AIR COMPRESSOR ROOM FACTORY1 | PI-TH-7151-BS-AC
PI-TH-7151-BS-AC-02 | AIR COMPRESSOR ROOM FACTORY2 | PI-TH-7151-BS-AC
PI-TH-7151-BS-CH | CHILLER PLANT | PI-TH-7151-BS
PI-TH-7151-BS-CH-01 | CHILLER PLANT FACTORY 1 | PI-TH-7151-BS-CH
PI-TH-7151-BS-CH-02 | CHILLER PLANT FACTORY 2 | PI-TH-7151-BS-CH
PI-TH-7151-BS-CP | CAR PARK | PI-TH-7151-BS
PI-TH-7151-BS-CP-01 | CAR PARK FRONT MAIN OFFICE | PI-TH-7151-BS-CP
PI-TH-7151-BS-CP-02 | CAR PARK NO.2 | PI-TH-7151-BS-CP
PI-TH-7151-BS-CT | CANTEEN | PI-TH-7151-BS
PI-TH-7151-BS-EB | ENGINEERING BUILDING | PI-TH-7151-BS
PI-TH-7151-BS-EB-EM | ENGINEERING BUILDING ENG MEETING ROOM | PI-TH-7151-BS-EB
PI-TH-7151-BS-EB-EO | ENGINEERING BUILDING ENG OFFICE | PI-TH-7151-BS-EB
PI-TH-7151-BS-EB-EP | ENGINEERING BUILDING PROC-PACK ROOM | PI-TH-7151-BS-EB
PI-TH-7151-BS-EB-ER | ENGINEERING BUILDING UTILITY ROOM | PI-TH-7151-BS-EB
PI-TH-7151-BS-EB-ES | ENGINEERING BUILDING STORE | PI-TH-7151-BS-EB
PI-TH-7151-BS-EB-EW | ENGINEERING BUILDING WORK SHOP | PI-TH-7151-BS-EB
PI-TH-7151-BS-FP | FIRE PUMP HOUSE | PI-TH-7151-BS
PI-TH-7151-BS-FR | FIRST AIDS ROOM | PI-TH-7151-BS
PI-TH-7151-BS-GH | GUARD HOUSE | PI-TH-7151-BS
PI-TH-7151-BS-GH-01 | GUARD HOUSE 1 | PI-TH-7151-BS-GH
PI-TH-7151-BS-GH-02 | GUARD HOUSE 2 | PI-TH-7151-BS-GH
PI-TH-7151-BS-GH-03 | GUARD HOUSE 3 | PI-TH-7151-BS-GH
PI-TH-7151-BS-LG | LPG STORAGE | PI-TH-7151-BS
PI-TH-7151-BS-LG-01 | LPG STORAGE 1 | PI-TH-7151-BS-LG
PI-TH-7151-BS-LG-02 | LPG STORAGE 2 | PI-TH-7151-BS-LG
PI-TH-7151-BS-MB | MAIN OFFICE BUILDING | PI-TH-7151-BS
PI-TH-7151-BS-MB-1F | MAIN OFFICE BUILDING 1ST FLOOR | PI-TH-7151-BS-MB
PI-TH-7151-BS-MB-1F-01 | MAIN OFFICE BUILDING 1F HR MEETING ROOM | PI-TH-7151-BS-MB-1F
PI-TH-7151-BS-MB-1F-02 | MAIN OFFICE BUILDING 1F SERVER ROOM | PI-TH-7151-BS-MB-1F
PI-TH-7151-BS-MB-1F-03 | MAIN OFFICE BUILDING 1F RECEPTION AREA | PI-TH-7151-BS-MB-1F
PI-TH-7151-BS-MB-1F-04 | MAIN OFFICE BUILDING 1F HR MANAGER ROOM | PI-TH-7151-BS-MB-1F
PI-TH-7151-BS-MB-1F-05 | MAIN OFFICE BUILDING 1F OFFICE AREA | PI-TH-7151-BS-MB-1F
PI-TH-7151-BS-MB-2F | MAIN OFFICE BUILDING 2ND FLOOR | PI-TH-7151-BS-MB
PI-TH-7151-BS-MB-2F-01 | MAIN OFFICE BUILDING 2F TAWAN ROOM | PI-TH-7151-BS-MB-2F
PI-TH-7151-BS-MB-2F-02 | MAIN OFFICE BUILDING 2F LAY'S ROOM | PI-TH-7151-BS-MB-2F
PI-TH-7151-BS-MB-2F-03 | MAIN OFFICE BUILDING 2F PLANT MGR ROOM | PI-TH-7151-BS-MB-2F
PI-TH-7151-BS-MB-2F-04 | MAIN OFFICE BUILDING 2F AGRO MGR ROOM 1 | PI-TH-7151-BS-MB-2F
PI-TH-7151-BS-MB-2F-05 | MAIN OFFICE BUILDING 2F AGRO MGR ROOM 2 | PI-TH-7151-BS-MB-2F
PI-TH-7151-BS-MB-2F-06 | MAIN OFFICE BUILDING 2F AGRO MGR ROOM 3 | PI-TH-7151-BS-MB-2F
PI-TH-7151-BS-MB-2F-07 | MAIN OFFICE BUILDING 2F AGRO A.MGR ROOM | PI-TH-7151-BS-MB-2F
PI-TH-7151-BS-MB-2F-08 | MAIN OFFICE BUILDING 2F PURC MGR ROOM | PI-TH-7151-BS-MB-2F
PI-TH-7151-BS-MD | MDB ROOM | PI-TH-7151-BS
PI-TH-7151-BS-MD-01 | MDB ROOM 1 | PI-TH-7151-BS-MD
PI-TH-7151-BS-MD-02 | MDB ROOM 2 | PI-TH-7151-BS-MD
PI-TH-7151-BS-MD-03 | MDB ROOM 3 | PI-TH-7151-BS-MD
PI-TH-7151-BS-MD-04 | MDB ROOM 4 | PI-TH-7151-BS-MD
PI-TH-7151-BS-MD-05 | MDB ROOM 5 | PI-TH-7151-BS-MD
PI-TH-7151-BS-PB | PRODUCTION BUILDING | PI-TH-7151-BS
PI-TH-7151-BS-PB-PM | PRODUCTION BUILDING PROD. MEETING ROOM | PI-TH-7151-BS-PB
PI-TH-7151-BS-PB-PO | PRODUCTION BUILDING PROD. OFFICE | PI-TH-7151-BS-PB
PI-TH-7151-BS-PB-QA | PRODUCTION BUILDING QA LABORATORY | PI-TH-7151-BS-PB
PI-TH-7151-BS-PS | PRODUCTION SUPPORT AREA | PI-TH-7151-BS
PI-TH-7151-BS-RB | R&D BUILDING | PI-TH-7151-BS
PI-TH-7151-BS-SM | SPC & MAN POWER OFFICE | PI-TH-7151-BS
PI-TH-7151-BS-TK | TANK FARM | PI-TH-7151-BS
PI-TH-7151-BS-TK-CO | TANK FARM COOKING OIL | PI-TH-7151-BS-TK
PI-TH-7151-BS-TK-FU | TANK FARM FUEL | PI-TH-7151-BS-TK
PI-TH-7151-BS-TK-NT | TANK FARM NITROGEN | PI-TH-7151-BS-TK
PI-TH-7151-BS-WA | WASTE AREA | PI-TH-7151-BS
PI-TH-7151-BS-WT | WWTP AREA | PI-TH-7151-BS
PI-TH-7151-BS-WT-FI | WWTP AREA FINISHING POND | PI-TH-7151-BS-WT
PI-TH-7151-BS-WT-SD | WWTP AREA SLUDGE DIGESTER | PI-TH-7151-BS-WT
PI-TH-7151-BS-WT-SR | WWTP AREA STARCH RECOVERY PLANT | PI-TH-7151-BS-WT
PI-TH-7151-BS-WT-SW | SANITARY WASTEWATER TRESTMENT PLANT | PI-TH-7151-BS-WT
PI-TH-7151-BS-WT-UF | ULTRA FILTRATION RECYCLE WATER PLANT | PI-TH-7151-BS-WT
PI-TH-7151-BS-WT-WS | WWTP AREA WASTEWATER SUMP | PI-TH-7151-BS-WT
PI-TH-7151-BS-WT-WT | WWTP AREA WATER TREATMENT PLANT | PI-TH-7151-BS-WT
PI-TH-7151-BS-WT-WW | WWTP AREA WASTEWATER TREATMENT PLANT | PI-TH-7151-BS-WT
PI-TH-7151-CS | COOL STORAGE AREA | PI-TH-7151
PI-TH-7151-FA | FACTORY | PI-TH-7151
PI-TH-7151-FA-F1 | FACTORY 1 | PI-TH-7151-FA
PI-TH-7151-FA-F1-BC | FACTORY 1 BCP | PI-TH-7151-FA-F1
PI-TH-7151-FA-F1-FC | FACTORY 1 FCP | PI-TH-7151-FA-F1
PI-TH-7151-FA-F1-FP | FACTORY 1 FRYPACK | PI-TH-7151-FA-F1
PI-TH-7151-FA-F1-P1 | FACTORY 1 PC50MZ | PI-TH-7151-FA-F1
PI-TH-7151-FA-F1-P2 | FACTORY 1 PC14 | PI-TH-7151-FA-F1
PI-TH-7151-FA-F1-SC | FACTORY 1 SCHAAF 2 | PI-TH-7151-FA-F1
PI-TH-7151-FA-F1-ST | FACTORY 1 STAX | PI-TH-7151-FA-F1
PI-TH-7151-FA-F2 | FACTORY 2 | PI-TH-7151-FA
PI-TH-7151-FA-F2-PL | FACTORY 2 Pellet | PI-TH-7151-FA-F2
PI-TH-7151-FA-F2-RB | FACTORY 2 RBS | PI-TH-7151-FA-F2
PI-TH-7151-FA-F2-SC | FACTORY 2 SCHAAF 1 | PI-TH-7151-FA-F2
PI-TH-7151-FA-PK | PACKING AREA | PI-TH-7151-FA
PI-TH-7151-FA-PK-01 | PACKING AREA ZONE PK1 | PI-TH-7151-FA-PK
PI-TH-7151-FA-PK-02 | PACKING AREA ZONE PK2 | PI-TH-7151-FA-PK
PI-TH-7151-FA-PK-03 | PACKING AREA ZONE PK3 | PI-TH-7151-FA-PK
PI-TH-7151-FA-PK-04 | PACKING AREA ZONE PK4 | PI-TH-7151-FA-PK
PI-TH-7151-FA-PK-05 | PACKING AREA ZONE PK5 | PI-TH-7151-FA-PK
PI-TH-7151-FA-PK-06 | PACKING AREA ZONE PK6 | PI-TH-7151-FA-PK
PI-TH-7151-FA-PK-CZ | PACKING AREA CASE ZONE | PI-TH-7151-FA-PK
PI-TH-7151-FA-PK-PH | PACKING AREA PACKING HALL ZONE | PI-TH-7151-FA-PK
PI-TH-7151-FA-PK-SC | PACKING AREA SCRAP | PI-TH-7151-FA-PK
PI-TH-7151-FA-PK-ST | PACKING AREA STAX ZONE | PI-TH-7151-FA-PK
PI-TH-7151-WH | WAREHOUSE | PI-TH-7151
PI-TH-7151-WH-OF | WAREHOUSE OFFICE | PI-TH-7151-WH
PI-TH-7151-WH-RM | WAREHOUSE RAW MATERIAL | PI-TH-7151-WH
PI-TH-7151-WH-SS | WAREHOUSE SEASONING COOL ROOM | PI-TH-7151-WH